# Codex Research Report

Validated, de-identified capstone synthesis — DRAFT FOR HUMAN REVIEW

REVIEW GATE: Do not use for a sleep-effect claim until a human verifies the source mapping and the device study is complete.

# Executive finding

Dream Sync is structured as a private research instrument, not a treatment product. It can collect quality-tagged sessions, record sham opportunities, deliver cues through a fail-closed protocol, and export traceable observations. Local verification supports software reliability only. It does not show deeper sleep or more lucid dreams.

# Source mapping

| Source | Supported fact | Project use | Limit |
| --- | --- | --- | --- |
| Besedovsky 2017 | Two 50 ms pink-noise tones, 1.075 s apart; EEG-triggered in consolidated NonREM; ACTIVE/SHAM crossover; n=14 healthy men. | Deep timing; sham design; conservative early-night eligibility. | No EEG. Timing preserved; phase locking absent. |
| Capstone details | One page; specific user/problem; numeric checks; Must/Won't; workflow; risk; human gate; three weeks. | Proposal, matrix, timeline, report and review gate. | Course guidance, not sleep evidence. |
| Android guidance | Persistent Data Items, transient Messages, capabilities, foreground-service limits. | Durable state/summary, direct live cue, user-started services. | Hardware/OS validation remains open. |

# Implemented evidence

Versioned, bound, expiring, deduplicated cue protocol with explicit lifecycle.

Room on both devices for sessions, events, surveys, terminal results, and recovery.

Speaker/audio checks, preloaded deterministic waveforms, calibration, completion verification.

Signal quality, sleep-onset estimate, eligibility states, and heart-required lucid cues.

Blinded ACTIVE/SHAM, conditioning, morning report, history/export/delete, replay fingerprint.

# Failed and incomplete sessions

No physical overnight session was run in this implementation pass, so there is no honest failed-night count. The app records stopped, timed out, phone lost, sensor degraded/failed, low battery, interrupted, and internal/storage failure. Hardware acceptance is PENDING, not PASS.

# Limitations

Motion and optical heart rate cannot identify EEG phase or clinically score sleep.

The source study was a small lab sample of healthy young men with EEG and in-ear tones; home speaker delivery differs.

The lucid feature is exploratory and not directly validated by the supplied deep-sleep paper.

Debug APKs/tests do not establish efficacy, long-term safety, battery behavior, or public readiness.

Codex can summarize de-identified exports, not validate sensor truth or replace review.

# Recommended next experiment

| QUESTION | Do ACTIVE and SHAM nights differ in restedness, awakenings, cue awareness, recall, lucid result, or adverse effects? |
| --- | --- |
| DESIGN | 12–20 nights after three accelerated runs: sensor-only baseline, then blinded randomized ACTIVE/SHAM; reveal after survey. |
| PRIMARY DATA | Usable-session rate, cue lifecycle, signal coverage, awakenings, restedness, adverse effects. Lucidity exploratory. |
| STOP RULES | Disable cues on phone/sensor/storage/battery/audio failure or repeated cue-linked arousal; stop study for meaningful adverse effects. |
| ANALYSIS | Paired descriptive differences with every failed/excluded session. No causal or medical claims. |

# Human review checklist

Verify source statements against DOI 10.1038/s41467-017-02170-3.

Confirm exports are de-identified before Codex use.

Attach hardware results and failed-session reasons.

Approve/reject each conclusion; sign and date.

Reviewer: ____________________   Decision: ☐ Approved  ☐ Revise   Date: ____________

# References

Besedovsky L, Ngo H-VV, Dimitrov S, et al. Nature Communications. 2017;8:1984. doi:10.1038/s41467-017-02170-3.

Android Developers: Wear Data Layer client types; Discover devices; Foreground-service launch restrictions. Accessed 18 July 2026.

Dream Sync local research, capstone, code, schemas, and test outputs.